## Cover
https://webtools.dnvgl.com/projects62/Portals/32/S4B_Policies_and_Procedures.pdf
Introduction
APS Solutions for Business Whole Building Program offers rebates to facility owners and designers to encourage the design and construction of highly efficient buildings.
Incentive Categories
Construction Rebate
Construction rebates encourage owners to invest in energy efficiency as a major goal in their new construction or major renovation projects. Financial rebates are available to owners when the efficiency of their project exceeds the minimum threshold.
Energy Modeling Rebates
Energy modeling rebates support integration of innovative design technologies into new construction projects. Tailored to individual projects, energy modeling rebates provide 50% of the energy modeling cost up to $10,000 to owners or their design teams.
Send applications by:
Email
aps.solutionsforbusiness@dnvgl.com
Mail
APS Solutions for Business,
2020 N. Central Ave, Suite 900
Phoenix, AZ 85004
Program Policies and Procedures:
Please refer to the APS Solutions for Business Policies and Procedures through the link below:
Follow This Easy Process:
1 - Determine Eligibility.
Check eligibility requirements. For complete eligibility requirements, please see APS Solutions for Business Program Guidelines.
2 - Submit Forms and Support Documents.
For complete requirements , please see APS Solutions for Business Program Guidelines.
3 - Receive Your Check.
The incentive check will be mailed four to six weeks after approval of the final application.
If you need assistance, contact our program:
1-866-277-5605
aps.solutionsforbusiness@dnvgl.com
Please visit our website: ww.aps.com/businessrebates
The Solutions for Business program is funded by APS customers and approved by the Arizona Corporation Commission. Payment of incentive funds is contingent upon funding availability and continued approval of this program by the Arizona Corporation Commission.

## Project Registration Form
Whole Building Application |  |  |  |  | APS-20-
APS Application #
Project Information
|  |  | Pre-Notification | Final Application |  |  |  | Project Type |  | Business Type |  | Current Project Phase |  | Application Type | Select Pre App
Application Type* |  |  | Submission Date: | Submission Date: |  |  | 1 | New Facility | 1 | K-12 School | 1 | Planning | 1 | Construction | X
|  |  | Estimated Completion Date: | Project Completion Date: |  |  | 2 | Renovation | 2 | College / University | 2 | Schematic Design/Design Development | 2 | Modeling |  | Application Type Selected in B8
Project Name |  |  |  | Name of Organization |  |  | 3 | Addition to Existing Facility | 3 | Office | 3 | Construction Documentation | 3
[7 empty] | 4 |  | 4 | Retail | 4 | Under Construction/Commissioning |  |  |  | Application Type Trigger for pages
Site Address |  |  |  | City | State | Zip Code |  |  | 5 | Restaurant | 5 |  |  |  | Select Final App | 0
[9 empty] | 6 | Hotel / Motel |  |  |  |  | X
Primary Building Type | Project Type |  |  | Current Project Phase |  |  |  |  | 7 | Medical
[9 empty] | 8 | Grocery | [5 empty] | Construction Application has been selected - This page is not applicable.
Design Start Date | Estimated Construction Start Date |  |  | Estimated Occupancy Date |  |  |  |  | 9 | Warehouse | [5 empty] | Design Application has been selected - This page is not applicable.
[9 empty] | 10 | Industrial | [5 empty] | Modeling Application has been selected - This page is not applicable.
Building Owner Information | [8 empty] | 11 | Miscellaneous
Organization Contact Person |  | Title |  | Company Name |  |  |  |  | 12 | Data Center
13
Name as it appears on APS bill |  |  |  | APS Account Number
Mailing Address |  |  |  | City | State | Zip Code
Business Telephone |  |  |  | Email
Design Team Information
Organization Contact Person |  | Title |  | Company Name
Mailing Address |  |  |  | City | State | Zip Code
Business Telephone |  |  |  | Email
Energy Modeling Team Information
Organization Contact Person |  | Title |  | Company Name
Mailing Address |  |  |  | City | State | Zip Code
Business Telephone |  |  |  | Email
*Separate applications must be submitted for each Application Type (i.e. Construction, Modeling).
1
Submit all completed forms to:
Email: aps.solutionsforbusiness@dnvgl.com
Mail: APS Solutions for Business, 2020 N Central Ave, Suite 900 Phoenix, AZ 85004
For assistance call: (866) 277-5605

## Checklist
2

## Modeling Rebate Payment
Please Select Application Type in Project Registration Form page |  |  | APS-20- |  |  |  |  | Application Type
APS Application # (from Registration Form)
Whole Building Modeling Payment Release | [8 empty] | FALSE
Application Type | [6 empty] | Tax Status |  |  | Payee
[6 empty] | 1 | Corporation (incl. Inc, PC, etc.) |  |  | Send Check to Building Owner | 1
Name of Project | [5 empty] | 2 | Government (K-12,Exempt) |  |  | Send Check to Modeling Team | 3
Name of Organization | [5 empty] | 3 | Partnership (Other,May receive 1099) |  |  | Send Check to Party Listed Below
Rebate Check Information | [5 empty] | 4 | Individual
Payee |  | Fields below will populate based on selection in Payee dropdown and input from Project Registration Form page. If rebate check is to be issued to a different party than listed in the dropdown, please enter information manually. |  |  |  | 5
Organization Contact Person | Title | Company Name | [7 empty] | Send Check to Party Listed Below.
Contact Person
Title
Mailing Address |  | City |  | State | Zip Code |  |  |  | Company Name
Address
City
Business Telephone |  | Email | [6 empty] | State
Zip
Business Phone
Federal Tax ID Number* |  | Tax Status | [6 empty] | Business Fax
Email
*Federal Taxpayer ID numbers are required. Please do not submit Social Security numbers.
Please select an Application Type in the Project Registration Form page .
Please select an Application Type in the Project Registration Form page . | [6 empty] | "Please complete following section…" notification
[8 empty] | Construction | Construction application has been selected, please complete Construction Rebate Payment page of this application.
Please select Application Type in the Project Registration Form page | [7 empty] | Design | Design application has been selected, please complete Design Rebate Payment page of this application.
Building Owner Signature |  | Total Cost of Modeling | [5 empty] | Modeling | Please complete the following section. By signing this agreement I attest that I understand and agree to abide by all program terms and conditions.
Please select an Application Type in the Project Registration Form page .
Print Name |  | Modeling Rebate
[7 empty] | Building owner signature notification |  | Please select Application Type in the Project Registration Form page
Date | [7 empty] | Construction | Do not sign this page. Please complete Construction Rebate Payment page.
[8 empty] | Design | Do not sign this page. Please complete Design Rebate Payment page.
3 | [7 empty] | Modeling
Please select Application Type in the Project Registration Form page
Notifications of rebate changes will only be sent if the approved rebate varies by greater than ±15% of requested amount.

## Construction Rebate Payment
Please Select Application Type in Project Registration Form page |  |  | APS-20- |  |  |  |  | Application Type
APS Application # (from Registration Form)
Whole Building Construction Payment Release | [8 empty] | FALSE
Application Type | [6 empty] | Tax Status |  |  | Payee
[6 empty] | 1 | Corporation (incl. Inc, PC, etc.) |  |  | Send Check to Building Owner | 1
Name of Project | [5 empty] | 2 | Government (K-12,Exempt) |  |  | Send Check to Party Listed Below
Name of Organization | [5 empty] | 3 | Partnership (Other,May receive 1099)
Rebate Check Information | [5 empty] | 4 | Individual
Payee |  | Fields below will populate based on selection in Payee dropdown and input from Project Registration Form page. If incentive check is to be issued to a different party than listed in the dropdown, please enter information manually. |  |  |  | 5
Organization Contact Person | Title | Company Name | [7 empty] | Send Check to Party Listed Below.
Contact Person
Title
Mailing Address |  | City |  | State | Zip Code |  |  |  | Company Name
Address
City
Business Telephone |  | Email | [6 empty] | State
Zip
Business Phone
Federal Tax ID Number* |  | Tax Status | [6 empty] | Business Fax
Email
*Federal Taxpayer ID numbers are required. Please do not submit Social Security numbers.
Please select an Application Type in the Project Registration Form page .
Please select an Application Type in the Project Registration Form page . | [7 empty] | "Please complete following section…" notification
[8 empty] | Construction | Please complete the following section. By signing this agreement I attest that I understand and agree to abide by all program terms and conditions.
Please select Application Type in Project Registration Form page | [7 empty] | Design | Design application has been selected, please complete Design Rebate Payment page of this application.
Building Owner Signature |  | Total Cost of Construction | [5 empty] | Modeling | Modeling application has been selected, please complete Modeling Rebate Payment page of this application.
Please select an Application Type in the Project Registration Form page .
Print Name |  | Construction Rebate
[8 empty] | Building owner signature notification | Please select Application Type in Project Registration Form page
Date | [7 empty] | Construction
[8 empty] | Design | Do not sign this page. Please complete Design Rebate Payment page.
4 | [7 empty] | Modeling | Do not sign this page. Please complete Modeling Rebate Payment page.
Please select Application Type in Project Registration Form page
Notifications of rebate changes will only be sent if the approved rebate varies by greater than ±15% of requested amount.

## Building Performance Input
Building Performance Input - Page 1 of 2
Modeling Inputs |  | Modeling Software (Select)
General Information | Component | Proposed Building Values | ASHRAE 90.1 Baseline
General Info | Climate Zone
Weekly Occupancy Schedule
Unmet Cooling/Heating Load Hours
Building Envelop
Exterior Walls | Type
U-Value
Roof | Type
U-value
Reflectivity
Window | Window to Wall Ratio
U-value
SHGC
Shading Devices
Skylights | Percent Gross Roof Area
U-value
| SHGC |  |  | Modeling Software (Select) | Shading Devices | LPD Procedure | System Type | Supply Air T Rest | Energy Recovery
Lighting |  |  |  | eQuest
Lighting (K-12 & 501(c)(3) Only ) | Categorization Procedure |  |  | Trane Trace | Yes | Building Area | System 1. PTAC | Yes | Yes
| LPD Value |  |  | Carrier HAP | No | Space by Space | System 2. PTHP | No | No
| Automatic Controls Modeled |  |  | EnergyPro |  |  | System 3. PSZ-AC
Plug Loads |  |  |  | Energy Plus |  |  | System 4. PSZ-HP
Plug Load | Power Density (W/sf) |  |  | Other |  |  | System 5. Package VAV with Reheat
HVAC General | [6 empty] | System 6. Packaged VAV with PFP Boxes
General HVAC | Primary System Type | [5 empty] | System 7. VAV with Reheat
| Secondary System Type | [5 empty] | System 8. VAV with PFP Boxes
Air-side HVAC Equipment | [6 empty] | Other ( VRF)
Air Handlers | System Type | [5 empty] | Other (Evap Cooling)
AHUs per Floor
Cooling Coil Sizing Ratio
Heating Coil Sizing Ratio
Preheat Coils Included
Occupied Sup/Ret Fan Sch
Unoccupied Sup/Ret Fan Sch
Economizers Required
Economizer High-Limit Shutoff
Total Supply Air
Outdoor Air
Supply Air/Return Air Temp Diff
Total System Fan Power (kW)
Supply Air Temp Reset
Supply Air Temp Reset dT
Supply Fan Speed Control
VAV Fan Perf Curve
VAV Boxes | Min Flow Setpoint
VAV Terminal Type
VAV Fan Power
Energy Recovery | Required?
Effectiveness
5
Building Performance Input - Page 2 of 2
Water-Side Cooling Equipment (Baseline Information Only Applies to HVAC System 5-8)
| Component | Proposed Building Values | ASHRAE 90.1 Baseline
Chiller | Type
Quantity
Total Capacity
Capacity per Chiller
Efficiency
Chilled Water Pumping | Layout
Primary Speed Control
Secondary Speed Control
System Pumping Power
Condenser Water Pumping | System Pumping Power
Speed Control
Chilled Water Loop | Supply Temperature
Return Temperature
Chilled Water Reset
High Temp OA Temp
High Temp CHW Temp
Low Temp OA Temp
Low Temp CHW Temp
Heat Rejection | Fan Speed Control
Condenser Water Temp
CW Temp Control
Min Reset Temp
Max Reset Temp
Fan Power
Water-Side Heating Equipment (Baseline Information Applies to Systems 1, 5 and 7 Only)
Boiler | Type
Fuel
Quantity
Size
Efficiency
Hot Water Loop | Supply Temperature
Return Temperature
Reset Control Type
High Temp OA Temp
High Temp CHW Temp
Low Temp OA Temp
Low Temp CHW Temp
Hot Water Pumping | Layout
System Pumping Power
Speed Control
6

## Building Performance Output
Building Performance Output |  |  |  |  | Select
Incentive
X
Modeling Outputs |  |  |  |  | Application Type
End Use | Proposed Demand (kW) | Baseline Demand (kW) | Proposed Energy (kWh) | Baseline Energy (kWh)
Interior Lighting (K-12 & 501(c)(3) Only)
Receptacle Equipment
Space Heating | [5 empty] | Selected | Dollar Cap | % Cost Cap | $ Cost Cap | Incentive | Incentive Cap Applied
Space Cooling |  |  |  |  | Energy Star Benchmarking Only | 0 | 250 | 50% | 0 | 0 | 0
Pumps & Aux |  |  |  |  | Feasibility Study | 0 | 10000 | 50% | 0 | 0 | 0
Fans - Interior |  |  |  |  | Retro-Commissioning HVAC / Lighting | 0 | 20000 | 75% | 0 | 0 | 0
Heat Pump Supp. Heat |  |  |  |  | Retro-Commissioning Other Systems | 0 | 20000 | 75% | 0 | 0 | 0
Service Water Heating |  |  |  |  | Design Assistance | 0 | 10000 | 50% | 0 | 0 | 0
Totals |  |  |  |  | Commissioning | 0 | 10000 | 50% | 0 | 0 | 0
Annual - Energy Savings Summary | [8 empty] | Worksheet selected on Application Form | #REF!
| EUI (kBtu/sf) | Peak kW | Electric (kWh) | Gas (Therms)
Proposed Building
ASHRAE 90.1
Estimated Savings | [9 empty] | #REF! | 0
Percent Savings
Summer Peak Period - Energy Savings Summary(1)
| Peak kW | Electric (kWh)
Proposed Building |  |  |  |  | THIS TABLE WAS USED TO CALCULATE CONSTRUCTION AND DESIGN REBATES WHEN THEY WERE STEPPED BASED ON % SAVINGS
ASHRAE 90.1 |  |  |  |  | Incentive Levels
Estimated Savings |  |  |  |  | Percent Savings | Range | Range Finder | Construction - Elect | Design - Elect
[5 empty] | 0 | 0% to 10% | 0 | 0 | 0
[5 empty] | 0.1 | 10% to 19% | 0 | 0.05 | 0.01
| Rebate Rate $/kWh | Estimated Rebate |  |  | 0.2 | 20% to 29% | 0 | 0.07 | 0.02
Estimated Contruction Rebate (1) | 0.28 |  | *Please select Application Type on Project Registration Form, then estimated rebate will calculate |  | 0.3 | 30% to 40% | 0 | 0.09 | 0.03
[5 empty] | 0.4 | 40% to 50% | 0 | 0.11 | 0.04
Estimated Modeling Rebate (2) | N/A |  | *Please select Application Type on Project Registration Form, then estimated rebate will calculate |  | 0.5 | Greater Than 50% | 1 | 0.13 | 0.04
Estimated Rebate Flags: Construction
[5 empty] | No App Type Selected | *Please select Application Type on Project Registration Form, then estimated rebate will calculate
[5 empty] | Modeling | *Modeling Application Type is selected on Project Registration Form, rebate is not applicable
[5 empty] | Savings < 10% | *Building must show savings of at least 10% over the established baseline.
Estimated Rebate Flags: Modeling
[5 empty] | No App Type Selected | *Please select Application Type on Project Registration Form, then estimated rebate will calculate
[5 empty] | Construction | *Construction Application Type is selected on Project Registration Form, rebate is not applicable
[5 empty] | No Cost Entered | *Please enter Modeling Cost on Modeling Rebate Payment tab, then rebate will calculate
2020 Rebate Rates
[5 empty] | Savings time frame | Savings Ammount | $/kWh
[5 empty] | Annual kWh Savings |  | 0.02
[5 empty] | Summer pk kWh savings |  | 0.18
**Rebates will remain at $.28/kwh saved summer on-pk for 4/1 launch. Leaving this table in for if we do update later on
(1) Construction rebates are calculated at $0.28/kWh X the kWh saved as determined by the modeled energy savings over baseline during the summer peak period of 3 p.m. to 8 p.m., Monday through Friday, June 1st through September 30th
(2) Please enter modeling costs in Modeling Rebate Payment page for Estimated Modeling Rebate to calculate
7

## Program Guidelines
8
9
10
12
Whole Building Program Guidelines - Page 1 of 3
Whole Building Program Guidelines - Page 2 of 3
Whole Building Program Guidelines - Page 3 of 3