## Revision Notes (hidden)
File Name | Revision Date | Notes | Revised By | Secured
TEP-ESP-lighting-20141120 | 2014-11-20 | Added Revision notes tab, consolidated to single Custom Lighting worksheet with 20 rows from 2 Custom Lighting worksheets for small and large applications, revised peak/off peak calculator for partial 3rd shift applications, added project baseline kWh, post kWh, kWh savings, and percent savings per Jim Doddenhoff request, changed checksum measure numbers to "Row" numbers for clarity, changed checksum separator to "--" from "-" for easier admin input to portal, changed checksums to display individual measure rows even when project "Lump Sum" is selected per TEP request for reporting, modified gridline printing for all cells for printed submittals. | Patrick O'Leary
TEP-ESP-lighting-20150211.xlsx | 2015-02-11 | Updatd avoided costs for 2015 program year | Patrick O'Leary
TEP-ESP-lighting-20150305.xlsx | 2015-03-05 | updated societal discount rate per client/navigant | Patrick O'Leary

## Cover
Commercial Energy Solutions
Incentive Worksheet
Self Install - 2018 Fall Promo
Custom Measures for Existing Facilities
Self Install Custom Lighting
Submit application to:
UES Commercial Energy Solutions
88 E Broadway Blvd
Mail Stop HQW505
PO Box 711, Tucson, AZ 85702
Tel: 1-866-324-5506
ces@uesaz.com
Please note:
Application has been updated to reflect the following changes as of 9/7/2018:
Category: HVAC | Custom Lighting
Measure: | Custom Lighting - Self Install
Change: | Use the Custom Lighting worksheet for any lighting incentives that are not applied for in the UES Direct Install program.
Category: | Incentive Amount
Measure: | Custom Lighting - Self Install
Change: | Maximum Measure incentives are outlined in tab "Measure Incentive Limits". Maximum limits increased.
Category: | Incentive Amount
Measure: | All UES Custom Measures
Change: | Eligible savings are paid at $0.10/kWh annual savings. Incentive Cap remains at a maximum of 75% of measure cost.
Application Process
1. Submit a Pre-Notification Application.
2. Install the qualified technology.
3. Submit a complete, signed Final Application with all documentation.
4. Receive incentive check within 6 weeks of Final Application approval.
Last Modified:9/7/2018
The Commercial Energy Solutions Program is paid for by UniSource Energy Services customers and approved by the Arizona Corporation Commission.

## Custom Lighting
UES EasySave | [6 empty] | For HELP hover mouse over gray shading for additional information. Yellow shaded cells indicate Data Entry.
Custom Lighting Worksheet 1 |  |  |  |  | Fall Promo 9/7/2018
Project Name: | [9 empty] | UES Account No:
Custom Lighting Efficiency Incentives
In order for a custom lighting project to be eligible for an incentive, the project must be deemed cost effective. The method used to determine cost effectiveness is called the Societal Cost Test (SCT). All of the information requested in the table below is required to perform the SCT. If the custom lighting project does not pass the SCT, the incentive will show DNQ (Does Not Qualify). Incentives are calculated at $0.10/kWh and are capped at a maximum of 75% of the measure cost.
Please check the current prescriptive lighting worksheet to see if proposed lighting retrofits are prescriptive in nature. Prescriptive projects cannot use the custom worksheet and will be deemed ineligible. For retrofit combinations that do not match prescriptive retrofit combinations, this custom incentive worksheet can be used.
This custom worksheet can be used for technologies that would otherwise be prescriptive if the project is a lighting redesign of an existing space where the fixture quantity is reduced. A minimum 20% reduction in fixture quantity must be achieved to qualify for custom lighting redesign incentives. Prescriptive projects using this custom worksheet will be deemed ineligible and can be resubmitted using the Prescriptive Lighting Worksheet.
Custom Lighting Efficiency Specifications
Replacement of Light Bulbs & Fixtures This measure consists of replacing existing incandescent, HID, compact fluorescent, metal halide, and high or low pressure sodium fixtures or lamps with more efficient fixtures or lamps. 1. LED Type: All LED replacement lamps/bulbs must be ENERGY STAR certified, and the certification date must be entered in the table below. All replacement fixtures must be either DesignLights Consortium (DLC) listed or ENERGY STAR certified, and the DLC listing date or ENERGY STAR certification date must be entered in table below. 2. T5 or T8 Fluorescent lamps must have a color rendering index (CRI) ≥ 80. The electronic ballast must be high frequency (≥ 20 kHz), UL listed, and warranted against defects for 5 years. Ballasts must have a power factor (PF) ≥ 0.90. Ballasts for 4- foot lamps must have total harmonic discharge (THD) ≤ 20% at full light output. For 2- and 3-foot lamps, ballasts must have THD ≤ 32% at full light output. T5 and T8 lamps are not required to be DLC or ENERGY STAR certified and should enter "NA" in the listing date column. 3. Induction Type: Induction type lamps/bulbs or fixtures are not required to be DLC or ENERGY STAR certified and should enter "NA" in the listing date column below. 4. All submittals must include a) the manufacturer's specification (catalog/cut sheet), and b) a copy (or pdf) of the DLC Listing or ENERGY STAR certification for each fixture or bulb being claimed as a savings measure, and c) invoices from the contractor. A room-by-room survey or lighting plan indicating the existing fixtures and proposed fixtures must be provided for lighting projects over 30 fixtures and all delamping projects. | [33 empty] | `
The DesignLights Consortium Product Listings are located on their website at: |  |  |  |  | http://www.designlights.org/search/
ENERGY STAR certified lighting fixtures and light bulbs are listed on the website at: |  |  |  |  | http://www.energystar.gov/productfinder/
DLC Sample Screencap & Website Instructions (click for more information) |  | DLC Sample Spreadsheet Download & Website Instructions (click for more information) |  |  | Energy Star Website Screencap & Instructions (click for more information) |  | Energy Star Spreadsheet Download and Sample (click for more information) |  |  | Note: LED bulbs/fixtures listed/certified as a family, or for one color temperature, may be acceptable for other color temperatures that do not consume more energy. Use the family/listed color temperature in the application submittal documentation.
Operating Schedule
Operating Schedule "A" | [6 empty] | Operating Schedule "B"
Day of Week | Start | End | Daily Hours |  |  |  | Day of Week | Start | End | Daily |  |  |  | x | y
Monday | 0:00 | 0:00 | 24 | Holidays Closed per Year | 0 |  | Monday |  |  | 0 | Holidays Closed per Year |  | 6 | 0 | 0
Tuesday | 0:00 | 0:00 | 24 | Weeks Closed per Year | 0 |  | Tuesday |  |  | 0 | Weeks Closed per Year |  | 0.85714 | 0 | 0
Wednesday | 0:00 | 0:00 | 24 |  |  |  | Wednesday |  |  | 0 |  |  |  | 0 | 0
Thursday | 0:00 | 0:00 | 24 | Weeks/Year | 52.14 |  | Thursday |  |  | 0 | Weeks/Year |  | 0 | 0 | 0
Friday | 0:00 | 0:00 | 24 | Hours/Week | 168 |  | Friday |  |  | 0 | Hours/Week |  | 0 | 0 | 0
Saturday | 0:00 | 0:00 | 24 | Hours/Year | 8759.52 |  | Saturday |  |  | 0 | Hours/Year |  | 0 | 0 | 0
Sunday | 0:00 | 0:00 | 24 |  |  |  | Sunday |  |  | 0 |  |  |  | 0 | 0
Operating Schedule "C" | [6 empty] | Operating Schedule "D" (Default Dusk-to-Dawn)
Day of Week | Start | End | Daily Hours |  |  |  | Day of Week | Start | End | Daily
Monday |  |  | 0 | Holidays Closed per Year |  |  | Monday | 18:00 | 6:00 | 12 | Holidays Closed per Year
Tuesday |  |  | 0 | Weeks Closed per Year | 0 |  | Tuesday | 18:00 | 6:00 | 12 | Weeks Closed per Year |  | 0
Wednesday |  |  | 0 |  |  |  | Wednesday | 18:00 | 6:00 | 12
Thursday |  |  | 0 | Weeks/Year | 0 |  | Thursday | 18:00 | 6:00 | 12 | Weeks/Year |  | 52.14
Friday |  |  | 0 | Hours/Week | 0 |  | Friday | 18:00 | 6:00 | 12 | Hours/Week |  | 84
Saturday |  |  | 0 | Hours/Year | 0 |  | Saturday | 18:00 | 6:00 | 12 | Hours/Year |  | 4379.76
Sunday |  |  | 0 |  |  |  | Sunday | 18:00 | 6:00 | 12
Existing Fixtures/Lamps & New Fixtures/Lamps
Building Type: |  | Office |  | < (Select Building Type) |  |  |  | Lump Sum Calculation? |  |  |  | No |  |  |  |  | 0.08 | 0.0095 | 0.0705 | 617.5462 | 694.395
Existing Fixture Type | Existing Fixture Count or Length | Existing Fixture Input Power (Watts per Fixture or Watts per Linear Foot) | Operating Schedule | Existing Fixture Description | New Fixture Model <== Paste COMcheck Here (see instructions) | New Bulb, Fixture | DLC Date or Energy Star Listing Date (LED or CFL), NA for others | Interior or Exterior | Listed/Certified Lifetime (Hours) | New Fixture Count/ Length <= Paste COMcheck | New Fixture Input (Watts per Fixture or Watts per Linear Foot) <= Paste COMcheck | Total Measure Cost (Fixture Count X (Fixture Cost + Tax + Labor)) | Estimated Incentive | Line Item Incentive | Lump Sum Incentive | SCT (linked from cell AI) | Pre Total Watts | Post Total Watts | Coincidence Factor | Meaure Life UnAdjusted | Pre On Peak Hours | Pre Off Peak Hours | Post On Peak hours | New Off Peak Hours | Non-Coincident Demand Factor | HVAC Energy Interactive Effect | NonCoincident Demand kW | Measure Life Adjusted | Coincidence Demand Savings (kW) | On Peak Energy Savings (kWh) | Off Peak Energy Savings (kWh) | Total kWh Savings | Societal Benefit | Societal Cost | SCT | Operating Hours | Pre kWh Usage | Post kWh Usage | kWh Savings | kW Savings | Qualifying Cost
INCAN | 1 | 80 | A | 100W equivalent 80W Halogen PAR38 Screw in | CREE CR4-575L-27K | LED_Bulb<=20W | 2013-04-30 | Int-AC | 35000 | 1 | 9.5 | 15 | #VALUE! | #VALUE! | #DIV/0! | #VALUE! | 80 | 9.5 | 8.9395e-05 | 4 | 2085.6 | 6673.92 | 8759.52 | 8759.52 | 0.0001734 | 0.12444 | 0.12041 | 4 | 0.062076 | 165.3321 | 529.0629 | 694.395 | #VALUE! | 15 | #VALUE! | 8759.52 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
[19 empty] | 0 |  |  |  |  | #VALUE! | 0 | 0 | [7 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
Project Completion Date |  |  |  | Note: All work shall be performed in accordance with all applicable professional standards and comply with all applicable federal, state, and local laws, ordinances, codes and regulations. | [5 empty] | Qualifying Project Cost |  | Estimated Incentive |  | 0 | 0 | #DIV/0! | [10 empty] | 0 | #DIV/0! | 0 | 0 | 0 | 0 | FALSE | 0 | #DIV/0!
[10 empty] | 0 |  | 0 |  | =IF($L$31="No",ROUND(SUM($M$34:$M53),3),IF(AND($L$31="Yes",$AI$54>=1),ROUND(MIN($AF$54*$F$150,$F$151*$AH$54),3),IF(AND($L$31="Yes",$AI$54<1),ROUND(SUM($M$34:$M$53),3),"Incomplete"))) | [18 empty] | Line Item
[10 empty] | Total Project Cost |  | 0 | Existing kWh | 470000 | UNSE 2018 incentive budget | [16 empty] | Fixture Location: | Internal
[10 empty] | 0 |  | 0 | New kWh | 94000 | [18 empty] | =IF(ISERROR(MATCH("Ext",H34:H53,0))=FALSE,"External","Internal")
Approximate Tons of CO2 Saved: |  |  | 0 | [8 empty] | 0 | kWh Saved |  | MIN((AD34+AE34)*$F$138,$F$139*$L34) | [11 empty] | =SUMIFS(AA34:AA58,$M$34:$M$58,"<>"&"DNQ") | =ROUND(SUMPRODUCT(AB76:AB95,AF76:AF95)/SUM(AF76:AF95),0) | =SUMIFS(AC34:AC58,$M$34:$M$58,"<>"&"DNQ") | =SUMIFS(AD34:AD58,$M$34:$M$58,"<>"&"DNQ") | =SUMIFS(AE34:AE58,$M$34:$M$58,"<>"&"DNQ") | =SUMIFS(AF34:AF58,$M$34:$M$58,"<>"&"DNQ") | =IF($AF63>0,(IF(L$31="Yes",NPV($AE$157,$AC63*(1+$AE$158)*(1+$AE$160)*$AG$125:INDEX($AG$125:$AG$154,MATCH($AB63,$AF$125:$AF$154,0)))+NPV($AE$157,AF63*(1+$AE$159)*$AK$125:INDEX($AK$125:$AK$154,MATCH($AB63,$AF$125:$AF$154,0))), "Line Item"))) | =SUMIFS(AH34:AH58,$M$34:$M$58,"<>"&"DNQ") | =IF(OR(AG63="Line Item",AC63=""),"",AG63/AH63) |  | 0 | 0 | 0 | 0 | 0
[11 empty] | Rebates cannot exceed 75% of incremental measure cost. | 0% | % Savings |  | 0 |  | #VALUE! | 0 | 0 | 0
Page 2 of 2 |  |  | Custom Lighting Worksheet 1
USER COMMENTS
FOR OFFICE USE ONLY - REVIEWER NOTES | [16 empty] | #VALUE! | X * (a + b) = ax + bx | [14 empty] | NO
Reviewed By: |  | Date:
QC By: |  | Date: | [30 empty] | 18 | total blank
[33 empty] | 0 | total nonblank
[33 empty] | 18 | total measure types
[33 empty] | 0 | premium count | Premium
[33 empty] | 0 | led count | LED
APPLICATION INTEGRITY CHECKSUMS
|  | 1 - Row 38 |  | 2 - Row 39 | 3 - Row 40 | 4 - Row 41 |  | 5 - Row 42 |  | 6 - Row 43 |  | 7 - Row 44
[28 empty] | #DIV/0! |  |  |  | 0
[28 empty] | 0 |  |  |  | 0
8 - Row 45 |  | 9 - Row 46 |  | 10 - Row 47 | 11 - Row 48 | 12 - Row 49 |  | 13 - Row 50 |  | 14 - Row 51 |  | 15 - Row 52
16 - Row 53 |  | 17 - Row 54 |  | 18 - Row 55
=IF(T116=U116,8,IF(AND(T116>=12,U116>=12,T116<=20,U116<=20),(U116-T116),IF(AND(U116<=12,U116<T116),8,IF(AND(U116<=12,U116>T116),0,IF(AND(U116>12,U116<=20),U116-12,IF(AND(U116>20,T116>=20),0,(U116-20)+(20-T116)))))))
fix last part of formula to calculate > 8 pm - 8pm off peak hours, + on peak hours less than 8 pm
[17 empty] | SCHEDULE A | [16 empty] | s | p | l | outer loop
[20 empty] | Start | End | m 0-6 | m 6-12 | m 12-22 | Stop | a 0-6 | a 6-12 | a 12-20 | a 20-24 |  |  | Count | Integral 2 | derivative 1 | derivative 2 | derivative 3 | test | basis | check
Existing Fixture Type | [5 empty] | Lump Sum |  |  | Building Type | [9 empty] | Monday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 1 | 12.4496 | 0.027085 | 0.055341 | 0.055341 | 0.027085
CFL |  |  | Measure | Max $/Measure | [27 empty] | 2 | 12.034 | 0.028125 | 0.055605 | 0.055605 | 0.028125
HID |  |  | Exit | 20 |  | Yes |  |  | College / University | [9 empty] | Tuesday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 3 | 47.4254 | 0.029787 | 0.057045 | 0.057045 | 0.029787
HPS |  |  | HID_to_LED_Bulb>20W | 55 |  | No |  |  | Grocery | [9 empty] | Wednesday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 4 | 156.42 | 0.030961 | 0.056743 | 0.056743 | 0.030961
INCAN |  |  | Induction | 40 |  |  |  |  | Hotel / Motel | [9 empty] | THURSDAY | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 5 | 160.3305 | 0.03231 | 0.058761 | 0.058761 | 0.03231
INDUCTION |  |  | LED_Bulb<=20W | 6.5 |  |  |  |  | K-12 School | [9 empty] | Friday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 6 | 164.3388 | 0.033644 | 0.060627 | 0.060627 | 0.033644
NEON SIGN |  |  | LED_Fix<= 50W | 40 |  | Operating Schedule |  |  | Medical | [22 empty] | 7 | 168.4472 | 0.035018 | 0.073073 | 0.073073 | 0.035018
LPS |  |  | LED_Fix>150W | 190 |  | A |  |  | Miscellaneous | [6 empty] | mon |  |  | Saturday | 0 | 0 | 6 | FALSE | FALSE | FALSE |  |  | FALSE | FALSE |  |  | 8 | 172.6584 | 0.036372 | 0.074994 | 0.074994 | 0.036372
MH |  |  | LED_Fix>50W_<=90W | 100 |  | B |  |  | Office | [6 empty] | tue |  |  | Sunday | 0 | 0 | 6 | FALSE | FALSE | FALSE |  |  | FALSE | FALSE |  |  | 9 | 176.9749 | 0.037591 | 0.07796 | 0.07796 | 0.037591
T5 |  |  | LED_Fix>90W_<=150W | 105 |  | C |  |  | Other Industrial | [6 empty] | wed | On-peak | Off-Peak | [5 empty] | on peak hours: |  | 40 | 0 | 0 |  |  |  | 10 | 181.3992 | 0.038837 | 0.078852 | 0.078852 | 0.038837
T8 |  |  | LED_Tube_2ft | 7 |  | D |  |  | Process Industrial | [6 empty] | thur | 8 | 16 | [13 empty] | 11 | 185.9342 | 0.039823 | 0.081017 | 0.081017 | 0.039823
T12 |  |  | LED_Tube_3ft | 7 |  |  |  |  | Restaurant | [6 empty] | fri | 8 | 16 | [13 empty] | 12 | 190.5826 | 0.040826 | 0.084658 | 0.084658 | 0.040826
|  |  | LED_Tube_4ft | 7 |  |  |  |  | Retail | [7 empty] | 8 | 16 | [13 empty] | 13 | 190.5826 | 0.042473 | 0.088093 | 0.088463 | 0.042473
|  |  | LED_Tube_8ft | 10 |  |  |  |  | Warehouse | [7 empty] | 8 | 16 | [13 empty] | 14 | 190.5826 | 0.044186 | 0.091729 | 0.092439 | 0.044186
Hour Schedule |  |  | PSMH | 50 | Measure | [6 empty] | Location |  |  |  |  | 8 | 16 | [13 empty] | 15 | 190.5826 | 0.045969 | 0.095514 | 0.096594 | 0.045969
0:00 |  |  | T8_T5 | 40 | [12 empty] | 0 | 24 | [13 empty] | 16 | 190.5826 | 0.047824 | 0.099456 | 0.10093 | 0.047824
0:15 | [11 empty] | Int-AC |  |  |  |  | 0 | 24 | [13 empty] | 17 | 190.5826 | 0.049753 | 0.10356 | 0.10547 | 0.049753
0:30 | [11 empty] | Int-Non |  |  |  |  | 40 | 128 | [13 empty] | 18 | 190.5826 | 0.051761 | 0.10783 | 0.11021 | 0.051761
0:45 |  |  |  |  | College / University | 1 | [5 empty] | Ext | [13 empty] | 8 | [5 empty] | 19 | 190.5826 | 0.053849 | 0.11228 | 0.11517 | 0.053849
1:00 |  |  |  |  | Grocery | [20 empty] | 8 | [5 empty] | 20 | 190.5826 | 0.056021 | 0.11692 | 0.12034 | 0.056021
1:15 |  |  |  |  | Hotel / Motel | [11 empty] | SCHEDULE B | [14 empty] | 21 | 190.5826 | 0.058282 | 0.12174 | 0.12575 | 0.058282
1:30 |  |  |  |  | K-12 School | [14 empty] | Start | End | m 0-6 | m 6-12 | m 12-22 | Stop | a 0-6 | a 6-12 | a 12-20 | a 20-24 |  |  | 22 | 190.5826 | 0.060633 | 0.12677 | 0.1314 | 0.060633
1:45 |  |  |  |  | Medical | [13 empty] | Monday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 23 | 190.5826 | 0.063079 | 0.132 | 0.13731 | 0.063079
2:00 |  |  |  |  | Miscellaneous | 0 | [25 empty] | 24 | 190.5826 | 0.065624 | 0.13745 | 0.14348 | 0.065624
2:15 |  |  |  |  | Office | [13 empty] | Tuesday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 25 | 190.5826 | 0.068272 | 0.14312 | 0.14993 | 0.068272
2:30 |  |  |  |  | Other Industrial | [13 empty] | Wednesday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 26 | 190.5826 | 0.071026 | 0.14903 | 0.15667 | 0.071026
2:45 |  |  |  |  | Process Industrial | [13 empty] | THURSDAY | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 27 | 190.5826 | 0.073892 | 0.15518 | 0.16371 | 0.073892
3:00 |  |  |  |  | Restaurant | [13 empty] | Friday | 0 | 0 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE |  |  | 28 | 190.5826 | 0.076873 | 0.16158 | 0.17106 | 0.076873
3:15 |  |  |  |  | Retail | [26 empty] | 29 | 190.5826 | 0.079974 | 0.16825 | 0.17875 | 0.079974
3:30 |  |  |  |  | Warehouse | [13 empty] | Saturday | 0 | 0 | 6 | FALSE | FALSE | FALSE |  |  | FALSE | FALSE |  |  | 30 | 190.5826 | 0.083201 | 0.17519 | 0.18679 | 0.083201
3:45 |  |  |  |  | Incentive ($/kWh) | 0.1 | [12 empty] | Sunday | 0 | 0 | 6 | FALSE | FALSE | FALSE |  |  | FALSE | FALSE
4:00 |  |  |  |  | Incentive Cap | 75% | [10 empty] | On-peak | Off-Peak | Exterior | Exterior |  |  |  | on peak hours: |  | 40 | 0 | 0
4:15 |  |  |  |  | Net to Gross Ratio | 100% | [10 empty] | 0 | 0 | On Peak | Off-Peak | 24 | [9 empty] | 7.827% |  | SDR
4:30 |  |  |  |  | type | coini | coino | ncoini | ncoino | if | [6 empty] | 0 | 0 |  |  | 24 | [9 empty] | 10.69% |  | LLFD
4:45 |  |  |  |  | Exit | 0.00011416 | 0.00011416 | 0.00011416 | 0.00011416 | 0.12444 | [6 empty] | 0 | 0 | [12 empty] | 10.69% |  | E
5:00 |  |  |  |  | HID_to_LED_Bulb>20W | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [6 empty] | 0 | 0 | [12 empty] | 15% |  | CRF
5:15 |  |  |  |  | Induction | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [6 empty] | 0 | 0
5:30 |  |  |  |  | LED_Bulb<=20W | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [6 empty] | 0 | 0
5:45 |  |  |  |  | LED_Fix<= 50W | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [6 empty] | 0 | 0
6:00 |  |  |  |  | LED_Fix>150W | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [6 empty] | 0 | 0 | 521.43 | 3858.582
6:15 |  |  |  |  | LED_Fix>50W_<=90W | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444
6:30 |  |  |  |  | LED_Fix>90W_<=150W | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444
6:45 |  |  |  |  | LED_Tube_2ft | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [6 empty] | SCHEDULE C
7:00 |  |  |  |  | LED_Tube_3ft | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [9 empty] | Start | End | m 0-6 | m 6-12 | m 12-22 | Stop | a 0-6 | a 6-12 | a 12-20 | a 20-24
7:15 |  |  |  |  | LED_Tube_4ft | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [8 empty] | Monday | 0:00 | 0:00 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE
7:30 |  |  |  |  | LED_Tube_8ft | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444
7:45 |  |  |  |  | PSMH | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [8 empty] | Tuesday | 0:00 | 0:00 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE
8:00 |  |  |  |  | T8_T5 | 8.9395e-05 | 3.9386e-05 | 0.0001734 | 0.00028738 | 0.12444 | [8 empty] | Wednesday | 0:00 | 0:00 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE
8:15 | [18 empty] | THURSDAY | 0:00 | 0:00 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE
8:30 | [18 empty] | Friday | 0:00 | 0:00 | 6 | FALSE | FALSE | 8 | 8 | FALSE | FALSE | FALSE
8:45
9:00 | [18 empty] | Saturday | 0:00 | 0:00 | 6 | FALSE | FALSE | FALSE |  |  | FALSE | FALSE
9:15 | [18 empty] | Sunday | 0:00 | 0:00 | 6 | FALSE | FALSE | FALSE |  |  | FALSE | FALSE
9:30 | [16 empty] | On-peak | Off-Peak | [5 empty] | on peak hours: |  | 40 | 0 | 0
9:45 | [16 empty] | 0 | 0
10:00 | [16 empty] | 0 | 0
10:15 | [16 empty] | 0 | 0
10:30 |  |  | T5/T8 |  | 0.1522 | HID to T5/T8 | [10 empty] | 0 | 0
10:45 |  |  | T12T8/PREMIUM T8 |  | 0.1522 | T12/T8 to premium T8 | [10 empty] | 0 | 0
11:00 |  |  | CFL |  | 0.14057 | Incandescent to CFL | [10 empty] | 0 | 0
11:15 |  |  | INDUCTION |  | 0.17 | HID to Induction |  | this is hard coded in 2014 mas | [8 empty] | 0 | 0
11:30 |  |  | T8/STAN |  | 0.1522 | T12 to T8 Standard | [10 empty] | 0 | 0
11:45 |  |  | LED CHAN |  | 0.1522 | Internal LED Channel |  | this is hard coded in 2014 mas
12:00 |  |  | LED |  | 0.14057 | Internal LED
12:15 | [16 empty] | SCHEDULE D
12:30 | [19 empty] | Start | End | m 0-6 | m 6-12 | m 12-22 | Stop | a 0-6 | a 6-12 | a 12-20 | a 20-24
12:45 |  | Existing | Target |  | Interactive Factor | [13 empty] | Monday | 432:00 | 144:00 | FALSE | FALSE | 0 | 2 | 2 | FALSE | 2 | FALSE
13:00 |  | HID | T5/T8CFL |  | 0.1522
13:15 |  | (LPS, | CFL |  | 0.14057 | [13 empty] | Tuesday | 432:00 | 144:00 | FALSE | FALSE | 0 | 2 | 2 | FALSE | 2 | FALSE
13:30 |  | HPS, | LED |  | 0.14057 | [13 empty] | Wednesday | 432:00 | 144:00 | FALSE | FALSE | 0 | 2 | 2 | FALSE | 2 | FALSE
13:45 |  | MH) | INDUCTION |  | 0.17 | this is hard coded in 2014 mas | [12 empty] | THURSDAY | 432:00 | 144:00 | FALSE | FALSE | 0 | 2 | 2 | FALSE | 2 | FALSE
14:00 | [18 empty] | Friday | 432:00 | 144:00 | FALSE | FALSE | 0 | 2 | 2 | FALSE | 2 | FALSE
14:15 |  | T12/T8 | Prem T8 |  | 0.1522
14:30 |  |  | CFL |  | 0.14057 | [13 empty] | Saturday | 432:00 | 144:00 | FALSE | FALSE | 0 | FALSE |  |  | 2 | FALSE
14:45 |  |  | LED |  | 0.14057 | [13 empty] | Sunday | 432:00 | 144:00 | FALSE | FALSE | 0 | FALSE |  |  | 2 | FALSE
15:00 |  |  | INDUCTION |  | 0.17 | [11 empty] | On-peak | Off-Peak | Exterior | Exterior |  |  |  | on peak hours: |  | 10 | 0 | 14
15:15 | [16 empty] | 2 | 10 | On Peak | Off-Peak
15:30 |  | T12 | Stand T8 |  | 0.1522 | [11 empty] | 2 | 10
15:45 |  |  | CFL |  | 0.14057 | [11 empty] | 2 | 10
16:00 |  |  | LED |  | 0.14057 | [11 empty] | 2 | 10
16:15 |  |  | INDUCTION |  | 0.17 | [11 empty] | 2 | 10
16:30 | [16 empty] | 0 | 12
16:45 |  | INCAND | T8/T5 |  | 0.1522 | [11 empty] | 0 | 12
17:00 |  |  | Stan T8 |  | 0.1522 | [11 empty] | 10 | 74 | 521.43 | 3858.582
17:15 |  |  | CFL |  | 0.14057
17:30 |  |  | LED |  | 0.14057
17:45 |  |  | INDUCTION |  | 0.17
18:00
18:15 |  | HID, | LED CHANNEL |  | 0.1522 | this is hard coded in 2014 mas
18:30 |  | T5, T8
18:45 |  | INCAN
19:00 |  | CFL
19:15
19:30
19:45
20:00
20:15
20:30
20:45
21:00
21:15
21:30
21:45
22:00
22:15
22:30
22:45
23:00
23:15
23:30
23:45
. | . | . | . |  | . | . | . | . | . | . | . | . | . | [29 empty] | . | . | .
Note on C35: College / University Grocery Hotel / Motel K-12 School Medical Miscellaneous Office Other Industrial Process Industrial Restaurant Retail Warehouse
Note on M35: Select "Yes" to calculate Incentive based on the SCT as a Lump Sum Calculation for all line items or "No" to calculate Incentive based on each line item passing an individual SCT calculation.
Note on A36: CFL = COMPACT FLUORESCENT HPS = HI PRESSURE SODIUM INCAN = INCANDESCENT INDUCTION LPS = LOW PRESSURE SODIUM MH = METAL HALIDE T5 T8
Note on B36: The number of fixtures or length of fixture (display signaged rated in W/LF)
Note on C36: Rated/Listed input power in Watts PER fixture or LF
Note on D36: Select Operating Schedule A, B, C, D listed above
Note on F36: New fixture Manufacturer and Model Number
Note on G36: CFL_Bulb CFL_Fixture Induction LED_Bulb LED_Channel (storefront signs) LED_Fixture T5 T8
Note on H36: Listing/Certification Date from the DLC or Energy Star websites. See Custom Lighting Info Sheet for more information. Sample Screenshots are available on this page. Induction, T5, T8, and MH Type equipment are exempted from the Listing/Certification date requirement.
Note on I36: Fixture Location: Int-AC = Internal Air Conditioned Area Int-Non = Internal No Air Conditioning Ext = External
Note on J36: DLC or Energy Star rated Lifetime Hours
Note on K36: The number of fixtures or length of fixture (display signaged rated in W/LF)
Note on L36: Rated/Listed input power in Watts PER fixture or LF
Note on M36: Dollar cost for each measure. Invoices should be itemized for each item installed.
Note on N36: Estimated Incentive is based on the Societal Cost Test. Incomplete = Required Data is missing, Enter data in Red cell. DNQ = Does Not Qualify for Rebate
Note on N37: Sample Row Only, Does Not Affect Estimated Incentive
Note on A57: Project Completion date shall be no more than 6 months prior to Application date
Note on M58: Estimated Incentive may not match the sum of individual rows when using the Lump Sum method as the incentive is based on the Total kWh saved, Total Project Cost, the Societal Cost Test, and whether the cap of 75% of cost or $0.07 per kWh or customer cap applies.

## Measure Incentive Limits
Custom Lighting Maximum incentives per measure
|  | Measure Category | Maximum incentive per unit
|  | LED tube (2ft, 3ft, 4ft) | 7
|  | LED tube (8ft) | 10
|  | LED Bulbs <= 20W | 6.5
|  | MH/HPS to LED Bulbs > 20W | 55
|  | LED Fixtures <= 50W | 40
|  | LED Fixtures >50W, <= 90W | 100
|  | LED Fixtures >90W, <= 150W | 105
|  | LED Fixtures >150W | 190
|  | Exit Signs | 20
|  | MH/HPS to T8/T5 fixture | 40
|  | Pulse Start MH retrofit | 50
|  | Induction fixture | 40
Last Modified:9/7/2018

## DLC & Energy Star Info
UES EasySave
DLC & Energy Star Info
1. How to Use the DLC Website to Look Up Qualifying Equipment
a) Download entire product list in spreadsheet format (Microsoft Excel)
b) Search products on the DLC website
2. How to Use the Energy Star Website to Look Up Qualifying Equipment
a) Download the Energy Star product list in spreadsheet format (Microsoft Excel)
b) Search product list on the Energy Star website
3. Equipment Type Exceptions
a) Induction
b) LED Family Color
1. | How to Use the DLC Website to Look Up Qualifying Equipment
Click on the hyperlink to open the DLC Website
a) Download entire product list in spreadsheet format (Microsoft Excel)
DLC listed fixtures can searched either directly on the website or from a downloaded spreadsheet.
To Download the entire list of DLC listed fixtures click here.
Then click on the "Download the QPL" link on the website.
Open the Spreadsheet file, products can be searched for (control-F) or filtered using basic
spreadsheet features:
b) Look up products on the DLC website
Click here to go to the DLC website search page.
Back to Top
Enter Search Criteria
Empty circles are valid choices. Orange filled circles are selections you have already made.
View Product Info
Back to Top
2. | How to Use the Energy Star Website to Look Up Qualifying Equipment
a. Click here for LED bulbs.
b. Click here for LED fixtures.
Select product category (Light Fixtures for this example)
Back to Top
Click on the "Excel File" link to download in spreadsheet format
Save File
Back to Top
Open in Excel (or other program) and search, filter, or sort products as needed:
(Example shows some columns hidden)
b) Search product list on the Energy Star website
Enter Manufacturer or partial product number:
Back to Top
Select Item and View Product Info:
3. Equipment Type Exceptions
a) Induction
Induction type fixtures/bulbs are not required to be DLC or Energy Star Listed/Certified.
b) LED Family Color
LED bulbs or fixtures that are not listed (DLC) or certified (Energy Star) but are of the same family as a listed or certified product where the only difference is the color (2700 kelvin, 3000 kelvin, etc), are acceptable provided the product submitted does not use more energy than the listed or certified model.
Back to Top

## COMcheck Import
UES EasySave
COMcheck Import Instructions
Importing from COMcheck software requires a few steps but can be done quickly to minimize your application input time. Please follow the instructions below to minimize import conflicts:
IMPORT STEPS
1. | Open COMcheck report in COMcheck, Adobe Reader or equivalent program that can export to .RTF format.
2. | Export COMcheck report to .RTF format (see Figure 1) and open file.
3. | Highlight "Fixture ID" rows only, then
4. | Use the copy/paste-Match-Destination Format option to paste the rows into "Column B" per Figure 2 below.
5. | Highlight the "# of fixtures" and "Fixture Watt" rows/columns only and then
6. | Use the copy/paste-match-existing format function to paste the rows into "Column F" per Figure 3 below.
NOTE: | Only Interior Lighting Power Density reductions are eligible for an incentive rebate.
Figure 1
Figure 1 - Paste Into "Column B" using a Right-Click and "Match Destination Format" option
Figure 2 - Paste into "Column F" using a Right-Click and "Match Destination Format" option
OR
If you only have a COMcheck generated PDF file and a program such as Adobe Acrobat (not Adobe Reader) you can save the file as a .RTF file